Shunt Patency Test Performance

| Ref | Test | Criterion | Sensitivity | Specificity |
| --- | --- | --- | --- | --- |
| Garton01 | valve palp | no empty | .12 | .99 |
| Garton01 | valve palp | no refill | .19 | .98 |
| Pitetti07 | Shunt series | Any abnormality | .27 | .99 |
| Zorc 02 | CT | Possible malfunction | .07 | .97 |
| Zorc 02 | CT | Any abnormality | .83 | .76 |
| Sood00 | shunt tap | Any abnormality | .79 | .56 |
| Brendel83 | isotope shuntgram | supine flow | .93 | .74 |
| Brendel83 | isotope shuntgram | erect flow | .56 | 1.0 |
| Shunt Model Test Results | Shunt Check | flow confirmed not confirmed | 1.00 | .92 |

# Footnotes

Garton HJ, Kestle JR, Drake JM: Predicting shunt failure on the basis of clinical symptoms and signs in children. J Neurosurg 94:202-210, 2001

Pitetti R: Emergency department evaluation of ventricular shunt malfunction: is the shunt series really necessary? Pediatr Emerg Care 23:137-141, 2007

Zorc JJ, Krugman SD, Ogborn J, Benson J: Radiographic evaluation for suspected cerebrospinal fluid shunt obstruction. Pediatr Emerg Care 18:337-340, 2002

Sood S, Canady AI, Ham SD: Evaluation of shunt malfunction using shunt site reservoir. Pediatr Neurosurg 32:180-186, 2000

Brendel AJ, Wynchank S, Castel JP, Barat JL, Leccia F, Ducassou D: Cerebrospinal shunt flow in adults: radionuclide quantitation with emphasis on patient position. Radiology 149:815-818, 1983

Shunt Model (porcine model of trancutaneous temperature change) results 10/07